Store Number:______________

Existing Evaporator Information

Make:			Model:			Serial Number:____________________

Type of Refrigerant:_________________________________

Expansion Valve Size:________________________________

Type of Defrost (circle one):  Air        Electric	Hot Gas

If Hot Gas, Type of Drain Pan Heater:  Electric  Hot Gas Loop

Drain Location: Right  Left  Center  Other (describe):_________________________________________

Electrical Hookup Location:  Right  Left

Fan Motor Voltage: 120v  230v  460v

Electric Defrost Voltage:  230v/single phase  230v/three phase

Fan Motor Type:  Standard  ECM  PSC  SSC

Type of Evaporator: Standard  Low  Velocity  Center Mount

Size of Walk In (length, width, height):______________________________

Design Temperature of Walk In:				Type of Product Stored:____________

Comments:_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

# Text boxes

Evaporator Worksheet

Send completed form to:

RFSC.Parts@Safeway.com or Mary.Doherty@Safeway.com

R

Left

Right